FM Technicians are to the vehicle fire extinguisher monthly and ensure is available for annual inspection and testing. Monthly checks should include:

EXTINGUISHERS

a) The extinguisher is in position

b) Has not been discharged

c) Is not showing any obvious signs of damage

| Date | Pass / Fail | Ref. No. / location | Remedial Action | All actions complete (date/initials) |
| --- | --- | --- | --- | --- |